## Quote
ENETK LLC
PLC AUTOMATION & INTEGRATION
11085 32E ST SW
DICKINSON ND 58601-7810
QUOTE
|  |  | Quote Number: | Q-TEST-001
|  |  | Quote Date: | 2025-01-05
|  |  | Project: | Comprehensive Test Project
|  |  | Customer Ref: | TEST-REF-001
CUSTOMER INFORMATION
Company: | Test Customer Inc.
Contact: | John Doe
Phone: | (555) 123-4567
Email: | john@testcustomer.com
Bill To: | Test Customer Inc. 123 Test Street Test City, TS 12345 |  | Ship To: | Test Customer Inc. 123 Test Street Test City, TS 12345
Item # | Description | Qty | Unit | Unit Price | Total Price
1 | Micropilot FMR63B Model:​ 71524852 Description:​ Level, radar, contactless. Premium device, 80GHz. Hygienic. Application:​ liquids, solids. Integrated data memory. :​:​ High availability and accuracy. :​:​ Reliable measuring:​ for changing medias, pressure, temperatures, gas phases, tanks with many obstacles. Delivery time:​ 11 wrk.day(​s)​ Order code description:​ FMR63B-​9XA0/​0 (​FMR63B-​CDBADBHJGNTA3HKB+​EH)​ Product Configuration:​ 010:​ Approval:​ CD:​ CSA C/​US XP Cl.I Div.1 Gr.A-​D, Cl.II,III Div.1 Gr.E-​G, Cl.I Div.2 Gr.A-​D, Cl.I zone 0/​1, AEx, Ex db IIC T6 Ga/​Gb 020:​ Output:​ BA:​ 2-​wire 4-​20mA HART 030:​ Display; Operation:​ D:​ Segment display w/​o buttons +​ Bluetooth 040:​ Housing; Material:​ B:​ Single compartment; Alu, coated 050:​ Electrical Connection:​ H:​ Thread NPT1/​2, IP66/​68 NEMA Type 4X/​6P 060:​ Application:​ J:​ Process temperature -​40…150oC/​ -​40...302oF 070:​ Antenna:​ GN:​ Cladded flush mount, PTFE, 80mm/​3" 105:​ Process Connection, Sealing Surface:​ TA:​ Clamp/​Tri-​Clamp 110:​ Process Connection:​ 3HK:​ Tri-​Clamp ISO2852 DN101.6 (​4")​, DIN32676 DN100, PTFE>316L, NA-​CONNECT compatible 200:​ Seal:​ B:​ PTFE cladded 540:​ >>Application Package:​ EH:​ Heartbeat Verification +​ Monitoring Country Information:​ Origin:​ US Dispatch:​ US | 1 | PC | 4860.996 | 4860.996
2 | Micropilot FMR60B Model:​ 71524847 Description:​ Level, radar, contactless. Basic device, 80GHz. Application:​ liquids. :​:​ High availability and accuracy. :​:​ Reliable measuring:​ for changing medias, pressure, temperatures, gas phases, tanks with many obstacles, tanks with small process connections. Delivery time:​ 9 wrk.day(​s)​ Order code description:​ FMR60B-​1JQQ7/​0 (​FMR60B-​CDBADBHHGAA3VEJD+​EH)​ Product Configuration:​ 010:​ Approval:​ CD:​ CSA C/​US XP Cl.I Div.1 Gr.A-​D, Cl.II,III Div.1 Gr.E-​G, Cl.I Div.2 Gr.A-​D, Cl.I zone 0/​1, AEx, Ex db IIC T6 Ga/​Gb 020:​ Output:​ BA:​ 2-​wire 4-​20mA HART 030:​ Display; Operation:​ D:​ Segment display w/​o buttons +​ Bluetooth 040:​ Housing; Material:​ B:​ Single compartment; Alu, coated 050:​ Electrical Connection:​ H:​ Thread NPT1/​2, IP66/​68 NEMA Type 4X/​6P 060:​ Application:​ H:​ Process temperature -​40…130oC/​ -​40...266oF 070:​ Antenna:​ GA:​ Drip-​off, PTFE 50mm/​2" 105:​ Process Connection, Sealing Surface:​ A3:​ Thread ASME B1.20.1, NPT 110:​ Process Connection:​ VEJ:​ MNPT1-​1/​2, 316L 200:​ Seal:​ D:​ FKM Viton GLT 540:​ >>Application Package:​ EH:​ Heartbeat Verification +​ Monitoring Country Information:​ Origin:​ US Dispatch:​ US | 1 | PC | 3451.476 | 3451.476
|  |  |  | Subtotal: | 8312.472
|  |  |  | Tax (8.0%): | 664.9978
|  |  |  | TOTAL: | 8977.4698
TERMS AND CONDITIONS
1. Acceptance. The Buyer's purchase order ("Order") is an offer to buy Goods and/or Services under these
Terms and Conditions. The Agreement is formed when Seller provides written acceptance of the Order.
Any Seller quotation is not an offer and is valid for 30 days from issuance unless notated differently on
proposal.
2. Buyer's Assent. Shipment by Seller and Buyer's acceptance or payment for any part of the Goods and/or
Services constitutes Buyer's agreement to these Terms. The seller may withdraw or modify its conditional
acceptance of the Order before Buyer accepts the Goods and Services.
3. Modification. No modifications or changes are binding on Seller unless agreed in writing by Seller. Seller
is not bound by any additional or different terms in Buyer's communications unless specifically accepted in
writing. Prior dealings, trade practices, or verbal agreements not formally documented and signed by Seller
are not binding. Any attempted modification or repudiation by Buyer, without Seller's consent, may be
treated as a breach of the Agreement.
4. Payment. The price of Goods is as stated in the Order Confirmation and excludes packaging, insurance,
and transport. Service charges are based on time and materials per Seller's standard rates, available upon
request. Prices for Goods and Services (collectively, "Prices") are subject to Seller's standard annual
increases, with prior notice to Buyer. Payment is due in full within 30 days of shipment unless otherwise
specified on Order, without set-off or withholding except as legally required. Unpaid balances incur a 1.5%
monthly service charge. If Seller identifies a significant negative change in Buyer's financial condition or if
payments are overdue, Seller may revoke credit, require C.O.D. terms, or suspend further performance.
Seller retains a security interest in the Goods until full payment is received, and Buyer authorizes Seller to
file any documents necessary to protect this security interest.
5. Termination. If the Agreement is terminated by mutual consent and no other arrangement is specified, the
Buyer shall pay termination charges equal to the greater of: : 10% of the net sales price, or : the sum of
: the Order price for completed Goods and Services, : Seller's actual costs and liabilities for
uncompleted portions, and : reasonable estimated profit on uncompleted portions
6. Returns. Custom products are made specifically to the Buyer's specifications and may not be eligible for
return. If a return is permitted at the Seller's discretion, a restocking fee of 15% of the purchase price will
apply. Restocking Fees will vary from different manufacturers and vendors. All return requests for
custom products must be pre-approved in writing by the Seller, and returned items must be in their original
condition.
7. Delivery / Shipment. Seller will deliver Goods to the location specified in the Order Confirmation. Buyer
is responsible for shipping, packing, and handling costs, and assumes risk of loss once Goods are
transferred to the carrier. Buyer has five (5) days after delivery to report any discrepancies with the
itemized packing list.
8. Storage Fees. If the Buyer delays shipment or fails to provide required information, causing Goods to be
stored, storage fees will apply starting from the scheduled shipment date unless otherwise extended in
writing. Buyers will be invoiced separately for storage at Seller's actual cost, with payment due within 30
days of the invoice date.
9. Warranties. All warranties on products will defer to the manufacturer's warranty. The Seller provides no
additional warranties, and any warranty claims should coordinate with the product's manufacturer.
10. Sales or Use Taxes. Seller will apply sales tax to taxable orders unless Buyer provides valid and legally
acceptable documentation, such as a tax-exempt certificate or direct pay permit, as required by the
jurisdiction where delivery or service occurs. Buyer is responsible for any additional sales tax if a
subsequent audit finds that the provided documentation was incomplete or invalid, unless Buyer corrects
the deficiency within 30 days of notification.